## Storage_dispatch_summary_Test_s
Run on a MSNT machine on 02/18/20 23:31:37. | With storage and PV | No Storage
Elapsed Time (minutes): | 2.0797 | 0.092933
Renewable Capacity (MW) | 5 | 0
Renewable Penetration for Input (%) | 1 | 0
interval length (hours) | 1 | 1
operating period length (hours) | 8760 | 8760
additional look-ahead (hours) | 0 | 0
output capacity (MW) | 5 | 0
input capacity (MW) | 5 | 0
storage capacity (hours) | 100 | 0
input efficiency (%) | 0.70711 | 0
output efficiency (%) | 0.70711 | 0
input heat rate (MMBtu/MWh) | 0 | 0
ouptut heat rate (MMBtu/MWh) | 0 | 0
variable O&M cost | 0 | 0
regulation cost | 0 | 0
hydrogen use | 0 | 0
input
LSL limit fraction | 0 | 0
reg up limit fraction | 0 | 0
reg down limit fraction | 0 | 0
spining reserve limit fraction | 0 | 0
startup cost ($/MW-start) | 0 | 0
minimum run intervals | 0 | 0
output
LSL limit fraction | 0 | 0
reg up limit fraction | 0 | 0
reg down limit fraction | 0 | 0
spining reserve limit fraction | 0 | 0
startup cost ($/MW-start) | 0 | 0
minimum run intervals | 0 | 0
total electricity input (MWh) | 6859.856 | 0
total electricity output (MWh) | 3429.928 | 0
output to input ratio | 0.5 | +INF
input capacity factor | 15.66% | 0
output capacity factor | 7.831% | 0
average regup (MW) | 0 | 0
average regdn (MW) | 0 | 0
average spinres (MW) | 0 | 0
average nonspinres (MW) | 0 | 0
number of input power system starts | 8760 | 8760
number of output power system starts | 8760 | 8760
arbitrage revenue ($) | 0 | -591382.6
regup revenue ($) | 0 | 0
regdn revenue ($) | 0 | 0
spinres revenue ($) | 0 | 0
nonspinres revenue ($) | 0 | 0
hydrogen revenue ($) | 0 | 0
REC revenue ($) | 0 | 0
LCFS revenue ($) | 0 | 0
startup costs ($) | 0 | 0
Fixed demand charge ($) | 0 | -241847.4
Timed demand charge 1 ($) | 0 | 0
Timed demand charge 2 ($) | 0 | -300.807
Timed demand charge 3 ($) | 0 | -36256.36
Timed demand charge 4 ($) | 0 | -135894.6
Timed demand charge 5 ($) | 0 | 0
Timed demand charge 6 ($) | 0 | 0
Meter cost ($) | 0 | -14390.16
Renewable sales ($) | 0 | 0
Renewable FOM cost ($) | 0 | 0
Input FOM cost ($) | 0 | 0
Output FOM cost ($) | 0 | 0
Renewable VOM cost ($) | 0 | 0
Input VOM cost ($) | 0 | 0
Output VOM cost ($) | 0 | 0
Debts ($) | 0 | 0
Taxes ($) | 0 | 0
Renewable capital cost ($) | 0 | 0
Input capital cost ($) | 0 | 0
Output capital cost ($) | 0 | 0
Hydrogen storage cost ($) | 0 | 0
Hydrogen compressor cost ($) | 0 | 0
NPV arbitrage revenue ($) | 0 | -5997199
NPV regup revenue ($) | 0 | 0
NPV regdn revenue ($) | 0 | 0
NPV spinres revenue ($) | 0 | 0
NPV nonspinres revenue ($) | 0 | 0
NPV of hydrogen revenue ($) | 0 | 0
NPV of REC revenue ($) | 0 | 0
NPV of LCFS revenue ($) | 0 | 0
NPV of startup costs ($) | 0 | 0
NPV of Fixed demand charge ($) | 0 | -2452570
NPV of Timed demand charge 1 ($) | 0 | 0
NPV of Timed demand charge 2 ($) | 0 | -3050.478
NPV of Timed demand charge 3 ($) | 0 | -367675
NPV of Timed demand charge 4 ($) | 0 | -1378104
NPV of Timed demand charge 5 ($) | 0 | 0
NPV of Timed demand charge 6 ($) | 0 | 0
NPV of Meter cost ($) | 0 | -145930.3
NPV Renewable sales ($) | 0 | 0
NPV Renewable FOM cost ($) | 0 | 0
NPV Input FOM cost ($) | 0 | 0
NPV Output FOM cost ($) | 0 | 0
NPV Renewable VOM cost ($) | 0 | 0
NPV Input VOM cost ($) | 0 | 0
NPV Output VOM cost ($) | 0 | 0
NPV of Debts ($) | 0 | 0
NPV of Taxes ($) | 0 | 0
NPV of actual operating profit ($) | 0 | -10344530
Renewable Penetration net meter (%) | 1 | 0
Curtailment (MWh) | 935.8424 | 0
Storage revenue ($) | 0 | 0
Renewable only revenue ($) | 0 | 0
Renewable max revenue ($) | 0 | 0
Renewable Electricity Input (MWh) | 6859.856 | 0
Electricity Import (MWh) | 0 | 6200.281
Total Electricity Consumed (MWh) | 13060.137 | 6200.281
Yearly Debt service ($) | 0 | 0
WACC | 7.062% | 7.062%
Num of e-devices | 1 | 1
Num of non-e-devices | 0 | 0
Product cost breakdown (US$/kg)
LCFS_FCEV (US$/kg) | 0 | 0
Renewable revenue(US$/kg) | 0 | 0
Energy charge (US$/kg) | 0 | 0
Fixed demand charge (US$/kg) | 0 | 0
Timed demand charge (US$/kg) | 0 | 0
Meters cost (US$/kg) | 0 | 0
Storage & compression cost (US$/kg) | 0 | 0
Input CAPEX (US$/kg) | 0 | 0
Input FOM (US$/kg) | 0 | 0
Renewable capital cost (US$/kg) | 0 | 0
Renewable FOM (US$/kg) | 0 | 0
Taxes (US$/kg) | 0 | 0
Product NPV cost (US$/kg) | 0 | 0