## Storage_dispatch_summary_TEST_2
Run on a MSNT machine on 02/14/17 09:29:14.
Optimal solution found within time limit: | Yes
Renewable Capacity (MW) | 0
Renewable Penetration for Input (%) | 0
interval length (hours) | 0.25
operating period length (hours) | 35040
additional look-ahead (hours) | 0
output capacity (MW) | 0
input capacity (MW) | 1000
storage capacity (hours) | 8
input efficiency (%) | 0.61
output efficiency (%) | 0
input heat rate (MMBtu/MWh) | 0
output heat rate (MMBtu/MWh) | 0
variable O&M cost | 0
regulation cost | 0
hydrogen use | 1
input
LSL limit fraction | 0.1
reg up limit fraction | 1
reg down limit fraction | 1
spining reserve limit fraction | 1
startup cost ($/MW-start) | 0
minimum run intervals | 0
output
LSL limit fraction | 1
reg up limit fraction | 1
reg down limit fraction | 1
spining reserve limit fraction | 1
startup cost ($/MW-start) | 0
minimum run intervals | 0
actual operating profit ($) | -872073700 | -742944183.13 | -742944183.13
total electricity input (MWh) | 7884006.31
total electricity output (MWh) | 0
output to input ratio | 0
input capacity factor | 0.9
output capacity factor | 0
average regup (MW) | 0
average regdn (MW) | 0
average spinres (MW) | 0
average nonspinres (MW) | 0
number of input power system starts | 35040
number of output power system starts | 35040
arbitrage revenue ($) | -690548800
regup revenue ($)
regdn revenue ($)
spinres revenue ($) |  |  | 6
nonspinres revenue ($)
hydrogen revenue ($) | 217790229.32 |  | 217790229.32
startup costs ($)
Fixed demand charge ($) | -192768100
Timed demand charge 1 ($)
Timed demand charge 2 ($) | -270657.45
Timed demand charge 3 ($) | -30300000
Timed demand charge 4 ($) | -46832464.84
Timed demand charge 5 ($)
Timed demand charge 6 ($)
Meter cost ($) | -14390.16
Renewable Penetration net meter (%)
Input annualized capital cost ($) | -113271500
Output annualized capital cost ($)
Input FOM cost ($) | -15858011.52
Output FOM cost ($)
Input VOM cost ($)
Output VOM cost ($)