## Storage_dispatch_summary_Test_b
Run on a MSNT machine on 07/15/20 14:57:22. | Base-2045 | PurchasePrice4x
Elapsed Time (minutes): | 1.1425 | 0.96577
Renewable Capacity (MW) | 0 | 0
Renewable Penetration for Input (%) | 0 | 0
interval length (hours) | 1 | 1
operating period length (hours) | 8760 | 8760
additional look-ahead (hours) | 0 | 0
output capacity (MW) | 0 | 0
input capacity (MW) | 1 | 1
storage capacity (hours) | 12 | 12
input efficiency (%) | 0.61367 | 0.61367
output efficiency (%) | 1 | 1
input heat rate (MMBtu/MWh) | 0 | 0
ouptut heat rate (MMBtu/MWh) | 0 | 0
variable O&M cost | 0 | 0
regulation cost | 0 | 0
hydrogen use | 1 | 1
input
LSL limit fraction | 0 | 0
reg up limit fraction | 0 | 0
reg down limit fraction | 0 | 0
spining reserve limit fraction | 0 | 0
startup cost ($/MW-start) | 0 | 0
minimum run intervals | 0 | 0
output
LSL limit fraction | 0 | 0
reg up limit fraction | 0 | 0
reg down limit fraction | 0 | 0
spining reserve limit fraction | 0 | 0
startup cost ($/MW-start) | 0 | 0
minimum run intervals | 0 | 0
total electricity input (MWh) | 8760 | 8134.2857
total electricity output (MWh) | 0 | 0
output to input ratio | 0 | 0
input capacity factor | 100% | 92.86%
output capacity factor | 0 | 0
average regup (MW) | 0 | 0
average regdn (MW) | 0 | 0
average spinres (MW) | 0 | 0
average nonspinres (MW) | 0 | 0
number of input power system starts | 8760 | 8760
number of output power system starts | 8760 | 8760
arbitrage revenue ($) | -68823.43 | -226269
regup revenue ($) | 0 | 0
regdn revenue ($) | 0 | 0
spinres revenue ($) | 0 | 0
nonspinres revenue ($) | 0 | 0
hydrogen revenue ($) | 23849.49 | 231962.48
REC revenue ($) | 0 | 0
LCFS revenue ($) | 309291.69 | 287199.43
startup costs ($) | 0 | 0
Fixed demand charge ($) | 0 | 0
Timed demand charge 1 ($) | 0 | 0
Timed demand charge 2 ($) | 0 | 0
Timed demand charge 3 ($) | 0 | 0
Timed demand charge 4 ($) | 0 | 0
Timed demand charge 5 ($) | 0 | 0
Timed demand charge 6 ($) | 0 | 0
Meter cost ($) | 0 | 0
Renewable sales ($) | 0 | 0
Renewable FOM cost ($) | 0 | 0
Input FOM cost ($) | -93840 | -93840
Output FOM cost ($) | 0 | 0
Renewable VOM cost ($) | 0 | 0
Input VOM cost ($) | 0 | 0
Output VOM cost ($) | 0 | 0
Debts ($) | -93441.79 | -93441.79
Taxes ($) | -23052.36 | -32214.88
Renewable capital cost ($) | 0 | 0
Input capital cost ($) | -708529 | -708529
Output capital cost ($) | 0 | 0
Hydrogen storage cost ($) | 0 | 0
Hydrogen compressor cost ($) | 0 | 0
NPV arbitrage revenue ($) | -697937 | -2294590
NPV regup revenue ($) | 0 | 0
NPV regdn revenue ($) | 0 | 0
NPV spinres revenue ($) | 0 | 0
NPV nonspinres revenue ($) | 0 | 0
NPV of hydrogen revenue ($) | 241857.19 | 2352326.7
NPV of REC revenue ($) | 0 | 0
NPV of LCFS revenue ($) | 3136520.7 | 2912483.5
NPV of startup costs ($) | 0 | 0
NPV of Fixed demand charge ($) | 0 | 0
NPV of Timed demand charge 1 ($) | 0 | 0
NPV of Timed demand charge 2 ($) | 0 | 0
NPV of Timed demand charge 3 ($) | 0 | 0
NPV of Timed demand charge 4 ($) | 0 | 0
NPV of Timed demand charge 5 ($) | 0 | 0
NPV of Timed demand charge 6 ($) | 0 | 0
NPV of Meter cost ($) | 0 | 0
NPV Renewable sales ($) | 0 | 0
NPV Renewable FOM cost ($) | 0 | 0
NPV Input FOM cost ($) | -951629.5 | -951629.5
NPV Output FOM cost ($) | 0 | 0
NPV Renewable VOM cost ($) | 0 | 0
NPV Input VOM cost ($) | 0 | 0
NPV Output VOM cost ($) | 0 | 0
NPV of Debts ($) | -847735.2 | -847735.2
NPV of Taxes ($) | -147060.5 | -214441.4
NPV of actual operating profit ($) | 25486.624 | 247885.41
Renewable Penetration net meter (%) | 0 | 0
Curtailment (MWh) | 0 | 0
Storage revenue ($) | -697937 | -573647.4
Renewable only revenue ($) | 0 | 0
Renewable max revenue ($) | 0 | 0
Renewable Electricity Input (MWh) | 0 | 0
Electricity Import (MWh) | 8760 | 8134.2857
Total Electricity Consumed (MWh) | 8760 | 8134.2857
Yearly Debt service ($) | 93441.79 | 93441.79
WACC | 0.07062 | 0.07062
Num of e-devices | 1 | 1
Num of non-e-devices | 0 | 0
Product cost breakdown (US$/kg)
LCFS_FCEV (US$/kg) | -2.143 | -2.143
Renewable revenue(US$/kg) | 0 | 0
Energy charge (US$/kg) | 0.47686 | 1.6884
Fixed demand charge (US$/kg) | 0 | 0
Timed demand charge (US$/kg) | 0 | 0
Meters cost (US$/kg) | 0 | 0
Storage & compression cost (US$/kg) | 0 | 0
Input CAPEX (US$/kg) | 1.0633 | 1.1451
Input FOM (US$/kg) | 0.6502 | 0.70021
Renewable capital cost (US$/kg) | 0 | 0
Renewable FOM (US$/kg) | 0 | 0
Taxes (US$/kg) | 0.10048 | 0.15779
Product NPV cost (US$/kg) | 0.14783 | 1.5485