## Storage_dispatch_summary_Test_c
Run on a MSNT machine on 01/26/18 18:36:43. | Central | Dist
Optimal solution found within time limit: | Yes | Yes
Renewable Capacity (MW) | 0 | 0
Renewable Penetration for Input (%) | 0 | 0
interval length (hours) | 1 | 1
operating period length (hours) | 8760 | 8760
additional look-ahead (hours) | 0 | 0
output capacity (MW) | 0 | 0
input capacity (MW) | 1000 | 1000
storage capacity (hours) | 24 | 6
input efficiency (%) | 0.61 | 0.61
output efficiency (%) | 1 | 1
input heat rate (MMBtu/MWh) | 0 | 0
output heat rate (MMBtu/MWh) | 0 | 0
variable O&M cost | 0 | 0
regulation cost | 0 | 0
hydrogen use | 1 | 1
input
LSL limit fraction | 0 | 0
reg up limit fraction | 0 | 0
reg down limit fraction | 0 | 0
spining reserve limit fraction | 0 | 0
startup cost ($/MW-start) | 0 | 0
minimum run intervals | 0 | 0
output
LSL limit fraction | 0 | 0
reg up limit fraction | 0 | 0
reg down limit fraction | 0 | 0
spining reserve limit fraction | 0 | 0
startup cost ($/MW-start) | 0 | 0
minimum run intervals | 0 | 0
actual operating profit ($) | -119473900 | -139011000
total electricity input (MWh) | 7884000 | 7884005.28
total electricity output (MWh) | 0 | 0
output to input ratio | 0 | 0
input capacity factor | 0.9 | 0.9
output capacity factor | 0 | 0
average regup (MW) | 0 | 0
average regdn (MW) | 0 | 0
average spinres (MW) | 0 | 0
average nonspinres (MW) | 0 | 0
number of input power system starts | 8760 | 8760
number of output power system starts | 8760 | 8760 |  | Central | Dist
arbitrage revenue ($) | -736191700 | -741933300 | arbitrage revenue ($) | -736191700 | -741933300
regup revenue ($) | 0 | 0 | hydrogen revenue ($) | 871160220.36 | 871160804.04
regdn revenue ($) | 0 | 0 | Fixed demand charge ($) | -179013200 | -178664400
spinres revenue ($) | 0 | 0 | Timed demand charge 1 ($) | 0 | 0
nonspinres revenue ($) | 0 | 0 | Timed demand charge 2 ($) | -271197.31 | -270084.25
hydrogen revenue ($) | 871160220.36 | 871160804.04 | Timed demand charge 3 ($) | -30060000 | -30060000
startup costs ($) | 0 | 0 | Timed demand charge 4 ($) | -45083629.43 | -59229640.28
Fixed demand charge ($) | -179013200 | -178664400 | Meter cost ($) | -14390.16 | -14390.16
Timed demand charge 1 ($) | 0 | 0 | Total ($) | -119473896.54 | -139011010.65
Timed demand charge 2 ($) | -271197.31 | -270084.25
Timed demand charge 3 ($) | -30060000 | -30060000
Timed demand charge 4 ($) | -45083629.43 | -59229640.28
Timed demand charge 5 ($) | 0 | 0
Timed demand charge 6 ($) | 0 | 0
Meter cost ($) | -14390.16 | -14390.16
Input annualized capital cost ($) | 0 | 0
Output annualized capital cost ($) | 0 | 0
Input FOM cost ($) | 0 | 0
Output FOM cost ($) | 0 | 0
Input VOM cost ($) | 0 | 0
Output VOM cost ($) | 0 | 0
Renewable sales ($) | 0 | 0
Renewable Penetration net meter (%) | 0 | 0
Curtailment (MWh) | 0 | 0
Storage revenue ($) | 0 | 0
Renewable only revenue ($) | 0 | 0
Renewable max revenue ($) | 0 | 0
Renewable Electricity Input (MWh) | 0 | 0
Electricity Import (MWh) | 7884000 | 7884005.28